## Slide 1: The cable routing of Wind farm

## Slide 2: Problem Description
substation
turbine
Obj: min total cost
s.t.: a connected graph
Q: a Minimum Spanning Tree (MST) ?
A: Yes, if no edge flow bound constraint (SUPER cable) No, otherwise.
UNIFORM : each turbine generates the same amount
GENERAL : each turbine generates different amount

## Slide 3: MODEL 1 The simplest one
UNIFORM Cable (only 1 type, SAME unit-length cost & capacity)

## Slide 4: Problem Definition
Objective function:
  Minimize the total installation cost
Assumptions:
  There is just one substation
  The locations (i.e., coordinates) of turbines are known
  Each cable has the same unit-length cost and capacity (flow upper bound)
  The connections between each two nodes are available (complete graph)
  The flow leaving a turbine must be supported by a single cable  1 outgoing arc
  The flow on each connection cannot exceed the capacity of the installed cable

## Slide 5: The Settings
Sets
  Node i : the turbines and substation (only 1)
  Edge : possible cable between nodes i and j
Variables
  Flow between turbine i and j :
  Distance between turbine i and j :
  Whether an arc is built with a cable or not:
  if arc (i, j) is constructed, then ; otherwise,
Parameters
  Unit-length cost and capacity of cable: and
  The net supply of each node i : (UNIFORM or GENERAL)

## Slide 6: IP Model for Model 1
Objective function:
  (Investment cost)
subject to
  (Flow balance)
  (Capacity limitation)
  (Connecting limitation)

## Slide 7: Graph of an Optimal Solution for SUPER Cable
UNIFORM Turbine
GENERAL Turbine
MST !!
Cost c | Capacity u
8 | ∞

## Slide 8: Graph of an Optimal Solution for UNIFORM Turbines
UNIFORM Turbine
Cost c | Capacity u
8 | 7

## Slide 9: Graph of an Optimal Solution for GENERAL Turbines
Cost c | Capacity u
8 | 7
General Turbine

## Slide 10: MODEL 2 a more extended MODLE 1
GENERAL Cable
multi-type, each type with different unit-length cost & flow bounds

## Slide 11: Problem Definition
Objective function:
  Minimize the total installation cost
Assumptions:
  There is just one substation
  The locations (coordinates) of turbines are known
  Different cable types have different unit-length costs and flow bounds
  The connections between each two nodes are available (complete graph)
  The flow leaving a turbine must be supported by a single cable  1 outgoing arc
  The flow on each connection must be within the flow bounds (lower and upper) of the installed cable type

## Slide 12: The Settings
Sets
  Node i : the turbines and substation (only 1)
  Edge : possible cable between nodes i and j
  Cable type t : type of a cable
Variables
  Flow between turbine i and j in a cable of type t :
  Distance between turbine i and j :
  Whether an arc is built with a cable of type t or not:
  if arc (i, j) is constructed, then ; otherwise,
Parameters
  Unit-length cost and flow bounds for a cable of type t : and .
  The net supply of each node i : (UNIFORM or GENERAL)

## Slide 13: The Model
Objective function:
  (Investment cost)
subject to
  (Flow balance)
  (Capacity limitation)
  (Connecting limitation)

## Slide 14: Graph of an Optimal Solution for UNIFORM Turbines
 | Cost c | Lower Bound l | Upper Bound u
Cable type 1 | 4 | 0 | 3
Cable type 2 | 6 | 4 | 5
Cable type 3 | 8 | 6 | 7
UNIFORM Turbine
Optimal solution = 320
Running time = 25(s)

## Slide 15: Graph of an Optimal Solution for GENERAL Turbines
GENERAL Turbine
Optimal solution = 435
 | Cost c | Lower Bound l | Upper Bound u
Cable type 1 | 4 | 0 | 3
Cable type 2 | 6 | 4 | 5
Cable type 3 | 8 | 6 | 7
Running time = 6835(s)

## Slide 16: MODEL 3 a more extended MODLE 2
More REALISTIC constraints:
No cable crossing, No obstacle crossing

## Slide 17: Problem Definition
Objective function:
  Minimize investment cost and loss cost
Assumptions:
  There is just one substation
  The locations of turbines are fixed
  The turbines have the same generation
  Different cables have different costs and capacities
  The capacities of cables are measured by the number of turbines
  The connections between each two nodes are available (complete graph)
  The flow leaving a turbine must be supported by a single cable
  The flow on each connection cannot exceed the capacity of the installed cable
  The cable crossing should be avoided
  The obstacle will be put into consideration

## Slide 18: The Settings
Sets
  Node i : the turbines and substation (only 1)
  Edge : possible cable between nodes i and j
  Subcable type : original cables divided into subtype cables depends
  on the supporting flow
  Cross set : contain edge(i, j) and edge(h, k) are intersect
Parameters
  The fixed investment cost, loss cost and capacity of subcable per unit
  distance : , and
  The net supply of each node i :

## Slide 19: The Settings
Variables
  Flow between turbine i and j in a subcable of type :
  Distance between turbine i and j :
  Whether an arc is built with a subcable of type or not:
  if arc (i, j) is constructed, then ; otherwise,
  Whether an arc is built with any cable or not:
  if arc (i, j) is constructed, then ; otherwise,
Other adjustment
  Add dummy nodes and edges to express the positions of obstacles, and then add again, so that we can bypass the obstacle
  Divide a cable type into many subcables because of the loss costs are different from the number of turbines supported

## Slide 20: The Model
Objective function:
  (Investment and loss cost)
subject to
  (Flow balance)
  (Capacity limitation)
  (Connecting limitation)

## Slide 21: The Model
subject to
  (relation between x and y)
  (Avoid cross case)

## Slide 22: The graph of optimal solution(node=20)
Cable type | Capacity Bound (l, u) | Loss Cost loss | Investment Cost c | Total Cost loss+c
Cable 0 | (0,0) | 0 | 0 | 0
Cable 1 | (0,1) | 1 | 4 | 5
 | (1,2) | 2 | 4 | 6
 | (2,3) | 3 | 4 | 7
Cable 2 | (3,4) | 4 | 6 | 10
 | (4,5) | 5 | 6 | 11
Cable 3 | (5,6) | 6 | 8 | 14
 | (6,7) | 7 | 8 | 15
The thicker line, the more capacity cable used
UNIFORM Turbine
Optimal solution = 359
Running time = 5(s)
obstacle
Running time = 2(s)

## Slide 23: The graph of optimal solution(node=20)
Cable type | Capacity Bound (l, u) | Loss Cost loss | Investment Cost c | Total Cost loss+c
Cable 0 | (0,0) | 0 | 0 | 0
Cable 1 | (0,1) | 1 | 4 | 5
 | (1,2) | 2 | 4 | 6
 | (2,3) | 3 | 4 | 7
Cable 2 | (3,4) | 4 | 6 | 10
 | (4,5) | 5 | 6 | 11
Cable 3 | (5,6) | 6 | 8 | 14
 | (6,7) | 7 | 8 | 15
The thicker line, the more capacity cable used
GENERAL Turbine
obstacle
Optimal solution = 574
Running time = 440(s)
Running time = 25(s)

## Slide 24: The graph of optimal solution(node=30)
Cable type | Capacity Bound (l, u) | Loss Cost loss | Investment Cost c | Total Cost loss+c
Cable 0 | (0,0) | 0 | 0 | 0
Cable 1 | (0,1) | 1 | 4 | 5
 | (1,2) | 2 | 4 | 6
 | (2,3) | 3 | 4 | 7
Cable 2 | (3,4) | 4 | 6 | 10
 | (4,5) | 5 | 6 | 11
Cable 3 | (5,6) | 6 | 8 | 14
 | (6,7) | 7 | 8 | 15
The thicker line, the more capacity cable used
UNIFORM Turbine
obstacle
Running time = 29(s)
Optimal solution = 549

## Slide 25: The graph of optimal solution(node=30)
Cable type | Capacity Bound (l, u) | Loss Cost loss | Investment Cost c | Total Cost loss+c
Cable 0 | (0,0) | 0 | 0 | 0
Cable 1 | (0,1) | 1 | 4 | 5
 | (1,2) | 2 | 4 | 6
 | (2,3) | 3 | 4 | 7
Cable 2 | (3,4) | 4 | 6 | 10
 | (4,5) | 5 | 6 | 11
Cable 3 | (5,6) | 6 | 8 | 14
 | (6,7) | 7 | 8 | 15
The thicker line, the more capacity cable used
UNIFORM Turbine
obstacle
still running, running time = 168342(s), gap = 0.99%

## Slide 26: Running Time(s)
Model 2 | Node 20 | Node 30
(1,1) | 2 | 25
(0.7,2.2) | 25 | 6835
Model 3 | Node 20 | Node 30
(1,1) | 5 | 29
(0.7,2.2) | 440 | More

## Slide 27: Computer Specification
CPU | Intel(R) Core(TM) i9-9900K
OS | windows10
RAM | 32GB
Python | 3.7.4
Gurobi | 9.0.0